January 23, 2018

John Nourzad P.E.

GreenbergFarrow

1430 W. Peachtree St NW

Atlanta, Ga 30309

**Re: Murphy Express -1358 Wyoming Blvd NE**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 11-15-17 (J20E037)**

Dear Mr. Nourzad,

Based upon the information provided in your submittal received 1-9-18, the above referenced plan is approved to be included in the SWPPP and to apply for an Erosion and Sediment Control Permit for Grading and Building Permit with the following condition:

1. Remove the silt fence dike on pavement (SDP) BMP shown in the gutter pan and replace with silt fence/filter sock/sediment BMP at the boundary between disturbed and undisturbed, most likely inside the sidewalk.

 Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email