June 7, 2017

Scott McGee, P.E.

9700 Tanoan Dr NE

Albuquerque, NM 87111

**Re: Jackson Middle School**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 5-23-17 (J21E029)**

Dear Mr. McGee,

Based upon the information provided in your submittal received 6-1-17, the above referenced plan is not approved to be included in the SWPPP or for ESC Permit for Grading and Building Permit and Work Order until the following comments are addressed:

1. Provide a stabilized construction entrance. Sometimes this requires coordination with the contractor.

2. Provide details for all proposed BMPs.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email