June 30, 2014

Ronald Ray Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, New Mexico  87109

RE:	FedEx® Ground Facilities - Daytona Road NW

Town of Atrisco Grant, Unit 5, Portion of Tract 12, Tract 13 & Tract 14A

Erosion Sediment Control (ESC) Plan

Engineer’s Stamp Date 5/19/2014 (K09-E026A)

Dear Mr. Bohannan,

Based upon your submittal received 5-20-14, the above referenced Erosion Sediment Control (ESC) plan is acceptable for Building Permit and Work Order based on the following conditions:

- Inlet protection in Los Volcanos Road should be used only during the construction of the storm drain pipes within the right-of-way.

- Please make sure that the proposed inlet protection in Los Volcanos Road will not cause flooding downstream of the project during monsoon.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.

If you have any questions, you can contact me at 924-3999.

Sincerely,

Shahab Biazar, P.E.

Acting City Engineer, Planning Dept.

Development Review Services

C:	e-mail