January 7, 2014

Sheldon E. Greer, P.E.

GND LLC

10224 Green River Pl

Albuquerque, NM 87114

Re:	Churches Chicken, 140 98th St NW

Request for Permanent C.O.

Architect’s Stamp Date: 06-04-13 (K-09/D031B)

Certification Date 12-27-13

Dear Mr. Greer,

Based on the Certification received 12/31/2013, the site is acceptable for release of 90 Day Temporary Certificate of Occupancy by Transportation.   The following items have to be addressed prior to acceptance of Final Certification of Occupancy:

- The entrance modifications deviated from the approved site plan which has created a safety issue. Drivers entering the shopping center can drive over the curb and over the landscaping area and possibly hit a fire hydrant.  Some striping may help with this safety issue.

- The trash enclosure was rotated in such a way where some parking spaces will be lost.

- The ATM machine was located where it was designated for parking spaces which also created more elimination of parking spaces.

- Some on-site parking orientation was changed.

- There originally approved site plan must be amended and approved to reflect the latest changes.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Principal Engineer, Planning Dept.

Development and Review Services

C:	email