## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | K09E052 |  | Project Name: |  | 98th and Central Warehouse
NPDES Id. No. | NMR10065E |  | Location: |  | 9561 Central Ave NW
2025-04-09 |  | Owner |  |  |  | Contractor
Operator |  | 98 and Central Partners LLC |  |  |  | A-Fel Construction
Contact name & title |  | Alfredo Barrenechea |  |  |  | Serfio Loya
e-mail |  | alfredo@go-absolute.net |  |  |  | sergiobuilder@hotmail.com
Contact Phone # |  | 505-246-6006 |  |  |  | 505-228-2795
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 12:30pm |  |  |  | Rain
Construction Phase: |  | Inactive: 1/2 stabilized w/ gravel, 1/2 bare dirt | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 75 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-11-07 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | The perimeter silt fence has not been entrenched and is showing wear and tear from winds in violation of CGP Parts 2.1.2 and 2.1.4.. Required mitigation: Design and install all stormwater controls in accordance with good engineering practices per CGP Part 2.1.2. Ensure all stromwater controls are maintained and remain in effective operating condition during permit coverage per CGP Part 2.1.4.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2025-04-07
Notes:
The permit coverage posting and SWPPP location sign were attached to the construction fence that has been removed from the perimeter and cannot be seen.
The SWPPP is located at 131 Madison St NE, Suite 200
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action