## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | K09E052 |  | Project Name: |  | 98th and Central Warehouse
NPDES Id. No. | NMR10065E |  | Location: |  | 9561 Central Ave NW
2025-12-22 |  | Owner |  |  |  | Contractor
Operator |  | 98 and Central Partners LLC |  |  |  | A-Fel Construction
Contact name & title |  | Alfredo Barrenechea |  |  |  | Serfio Loya
e-mail |  | alfredo@go-absolute.net |  |  |  | sergiobuilder@hotmail.com
Contact Phone # |  | 505-246-6006 |  |  |  | 505-228-2795
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 10:45am |  |  |  | Rain
Construction Phase: |  | Inactive: 1/2 stabilized w/ gravel, 1/2 bare dirt with ponds | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  |  | 55 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2025-11-20 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The SWPPP and inspection reports were not available at the time of inspection in violation of CGP Parts 4.7.3 and 7.3. Required mitigation: While permit coverage is active, you must keep a copy of the SWPPP and all inspection reports at the site or at an easily accessible location so they can be made immediately available at the time of an on-site inspection per CGP Parts 4.7.3 and 7.3.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date: |  | N/A
Notes:
It was stated that permit coverage had been terminated, but the EPA permit search site states that the coverage is still "Active" - NOIs: NMR10065E and NMR10065T
The SWPPP is located at 131 Madison St NE, Suite 200
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action