|  | Date: 07/06/16 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Freddy's Coors & Central |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | This site has silt fence and a stabilized construction entrance at time of inspection. No site BMP corrective actions noted at time of inspection. | 02/03/16 |  | 02/03/16 |
| 2 | No work is being preformed and temporary ground stabilization is required after 14 days of no work. | 02/17/16 |  | Const. Resumed 05/11/16 |
| 3 | Repair the silt fence at the West side to the site/06/21/16 will be removed for landscaping | 03/16/16 |  | 06/21/16 |
| 4 | Remove the blow away trash from site | 03/16/16 |  | 06/21/14 |
| 5 | No new issues at the time of this inspection. Address previous issues. | 03/30/16 |  | 03/30/16 |
| 6 | No new issues at the time of this inspection. Address previous issues. | 04/13/16 |  | 04/13/16 |
| 7 | No new issues at the time of this inspection. Address previous issues. | 04/27/16 |  | 04/27/16 |
| 8 | Ensure there is a spill kit on site | 05/11/16 |  | 06/08/16 |
| 9 | Post the NOI for Hart Construction at the entrance to the site | 05/25/16 |  | 06/14/16 |
| 10 | Start SWPPP training which is located under tab 7 in the SWPPP Book | 05/25/16 |  |  |
| 11 | Remove the trash from Drop Inlet at the West side to the site | 06/08/16 |  | 06/29/16 |
| 12 | No new issues at the time of this inspection. Address previous issues | 06/14/16 |  | 06/14/16 |
| 13 | No new issues at the time of this inspection. Address previous issues | 06/21/16 |  | 06/21/16 |
| 14 | Provide inlet protection to the west side drop inlet | 06/29/16 |  | 07/06/16 |
| 15 | Clean up the concrete washed out in multiple places to the site | 06/29/16 |  | 07/06/16 |
| 16 | Remove dirt from parking lot where landscaping guys are working | 06/29/16 |  | 07/06/16 |
| 17 | Sweep and cut back along the curb at the west side where silt fence was removed | 07/06/16 |  |  |
| 18 | Re-install a concrete washout | 07/06/16 |  |  |
| 19 | Remove the blow away trash South and West sides to the site | 07/06/16 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |