|  | Date: 03/29/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Vitality Works Warehouse Addition |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | No issues at the time of this inspection | 05/17/18 |  | 05/17/18 |
| 2 | Repair the silt fence on the SW side of the site | 05/31/18 |  | 06/14/18 |
| 3 | No issues at the time of this inspection | 06/14/18 |  | 06/14/18 |
| 4 | The site looked good. No new issues at the time of this inspection | 06/21/18 |  | 06/21/18 |
| 5 | No issues at the time of this inspection | 06/27/18 |  | 06/27/18 |
| 6 | No issues at the time of this inspection | 07/06/18 |  | 07/06/18 |
| 7 | The site looked good. No new issues at the time of this inspection | 07/13/18 |  | 07/13/18 |
| 8 | No issues at the time of this inspection | 07/20/18 |  | 07/20/18 |
| 9 | No new issues at the time of this inspection | 07/27/18 |  | 07/27/18 |
| 10 | The site looked good. No new issues at the time of this inspection | 08/03/18 |  | 08/03/18 |
| 11 | No new issues at the time of this inspection | 08/10/18 |  | 08/10/18 |
| 12 | No new issues at the time of this inspection | 08/17/18 |  | 08/17/18 |
| 13 | No new issues at the time of this inspection | 08/23/18 |  | 08/23/18 |
| 14 | The site looked good. No new issues at the time of this inspection | 08/31/18 |  | 08/31/18 |
| 15 | No new issues at the time of this inspection | 09/07/18 |  | 09/07/18 |
| 16 | All BMP's in place. no new issues | 09/14/18 |  | 09/14/18 |
| 17 | No new issues at the time of this inspection | 09/20/18 |  | 09/20/18 |
| 18 | Cleanup the concrete washed out mess on the SW side of the site next to the concrete washout. | 09/28/18 |  | 10/12/18 |
| 19 | Empty the concrete washout | 10/12/18 |  | 10/25/18 |
| 20 | No new issues at the time of this inspection | 10/25/18 |  | 10/25/18 |
| 21 | The site looked good. No new issues at the time of this inspection | 11/09/18 |  | 11/09/18 |
| 22 | No new issues at the time of this inspection | 12/14/18 |  | 12/14/18 |
| 23 | Trash bin needs to be emptied | 01/17/19 |  | 02/28/19 |
| 24 | Empty the concrete washout | 01/31/19 |  | 02/28/19 |
| 25 | Cleanup the concrete washed out next to the concrete washout container. | 01/31/19 |  | 02/28/19 |
| 26 | Part of the silt fence at the East side of the site needs to be reinstalled. (cover the bottom) | 02/28/19 |  | 03/29/19 |
| 27 | The site looked good. All disturbed areas will be stabilized with seeding soon. | 03/29/19 |  | 03/29/19 |
| SWPPP Management Signature: Date: |  |  |  |  |