## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | K10E023L |  | Project Name: |  | Bluewater Galleria Mall
NPDES Id. No. | NMR1005V5 |  | Location: |  | 531 Silver Creek Rd NW
2025-10-20 |  | Owner |  |  |  | Contractor
Operator |  | MJ Hospitality LLC |  |  |  | None on file
Contact name & title |  | Mohamed Jasser
e-mail |  | jasser007@gmail.com
Contact Phone # |  | 505-385-9911
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 10:45am |  |  |  | Rain
Construction Phase: |  | Grading | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 65 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2025-10-14 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | None
2
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | No | Latest report Date: |  | N/A
Notes:
Posting is at construction entrance at the southwest corner of the property on Unser Blvd SW.
Massive erosion leading into the pond which might cause premature dredging of sediment.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action