June 12, 2019

Paul Blanchard, Blanchard Properties, LLC, rjones@rjonescpa.com

Cary Bush, Blanchard Construction,carybush@msn.com

Site: Defined Fitness at Unser Crossings

Re:	Drainage Ordinance (14-5-2-1) Violations for Erosion and Sediment Control

Dear Mr. Blanchard,

1.  Self-inspection reports have not been submitted.

Self-inspections and accompanying reports are required once every 14 days and within 24 hours after a precipitation event of 0.25 inch or greater.

Required mitigation:

1.  Perform self-inspections and document conditions on an inspection report(s) and provide the report(s) to the City.

Self-inspection reports can be hand-delivered, e-mailed or kept on-site.  If kept on-site, the location is to be communicated to the City and the location must be accessible to the City during regular work hours.

If the violation is not mitigated within 7 days, the property owner is subject to a fine of $500/day per the City’s Drainage Ordinance.

If you have any questions, you can contact me at 924-3420, ccherne@cabq.gov.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.