January 17, 2012

John M. Provine, P.E.

Molzen-Corbin

2701 Miles Rd SE

Albuquerque, NM 87106

Re:	Fire Station No. 7, Grading and Drainage Plan

Engineer’s Stamp dated 01-10-12 (K11/D079)

Dear Mr. Provine,

Based upon the information provided in your submittal received 01-10-12, the above referenced plan is approved for Building Permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge and a Topsoil Disturbance Permit since it is disturbing ¾ of an acre or more.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3986

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

Copy: e-mail