March 10, 2014

Richard J. Berry, Mayor

Dennis Lang, P.E.

Adams Engineering

910 South Kimball Avenue

Southlake, Texas  76092

RE:	Church’s Chicken #695 – 5407 Central Ave. NW   		File  K11 –D081

Request for Permanent Certificate of Occupancy

Temporary C.O. – Accepted =  30-Days

G&D Plan - Engineer’s Stamp: 09-19-13

Certification dated: 03-08-2014

Dear Mr. Lang,

Based upon the information provided in your Drainage Certification received 3-10-2014, the above referenced Certification is NOT acceptable for a release of a Permanent Certificate of Occupancy (CO) by Hydrology.

I was able to review the surveyors As-Built Survey notes, and your separate Drainage Certification statement, and am basing this Temporary CO on that information.  To obtain a release of the Permanent CO from Hydrology, we request that your certification statement by included on a copy of the Approved Grading and Drainage Plan, with the As-Built Survey information and surveyors certification included.

The above referenced Certification is acceptable for release of a 30 day Temporary Certificate of Occupancy by Hydrology.

If you have any questions, please contact me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  K11-D081

c.pdf	Addressee via Email: Dennis.Lang@Adams-Engineering.com

ec:	Bob Golden, NMGolden@aol.com