|  | Date: 03/06/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Gorman Contractors for Generations West. |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 01 | BMP's in place prior to earth disturbing activities. No site corrective actions noted at the time of inspection. | 08/14/18 |  | 08/14/18 |
| 02 | Maintain inlet at 57th and Avalon: Clear sediment, repair wattle and coco mat. | 08/28/18 |  | 09/04/18 |
| 03 | Post NOI at construction entrance. | 08/28/18 |  | 09/04/18 |
| 04 | No additional site BMP corrective actions noted at the time of inspection. | 09/04/18 |  | 09/04/18 |
| 05 | No additional site BMP corrective actions noted at the time of inspection. Sediment built up at inlet on 57 street caused by AUI from uphill slope. | 09/11/18 |  | 09/11/18 |
| 06 | No additional site BMP corrective actions noted at the time of inspection. | 09/18/18 |  | 09/18/18 |
| 07 | Add rock to trackout pad to prevent sediment transfer to street, continue to sweep exit. | 09/25/18 |  | 10/02/18 |
| 08 | No additional site BMP corrective actions noted at the time of inspection. Active work to remove stockpile from North east corner. | 10/02/18 |  | 10/02/18 |
| 09 | Sweep construction exit, sediment transfer to roadway. | 10/16/18 | 10/18/18 | 10/30/18 |
| 10 | Curb sweeping required from the construction exit and East to the inlet on 57th street. Remove built up sediment from inlet and maintain inlet BMP. | 10/30/18 |  | 11/13/18 |
| 11 | Sweep sidewalk at 57th and Esperanza, sediment escaping under wattle to sidewalk/ gutter. | 10/30/18 |  | 11/13/18 |
| 12 | Weighted wattle at fence base on Esperanza removed for clean up, assumed replaced at the end of day. | 11/13/18 |  | 11/13/18 |
| 13 | NOI should be posted at construction entrance, where the public can see the information. Inspector can provide ASAP. Cumulative storm events for 10/30-31/18 = 0.21" | 11/13/18 |  | 11/27/18 |
| 14 | No additional site BMP corrective actions noted at the time of inspection. ECP updated, NOI posted at entrance. | 11/27/18 |  | 11/27/18 |
| 15 | No additional site BMP corrective actions noted at the time of inspection. Rain event on 12/02/18 recorded at 0.09". | 12/11/18 |  | 12/11/18 |
| 16 | No additional site BMP corrective actions noted at the time of inspection. Precipitation event on 12/26/18 recorded at 0.23". | 12/26/18 |  | 12/26/18 |
| 17 | Fractured rock trackout pad required at construction entrance on 58th street. Curb sweeping required. Tie in work on 57th. | 01/08/19 |  | 01/22/19 |
| 18 | Replace wattles at fence base on 57th street and Esperanza. Sweep sidewalk when complete. | 01/22/19 | Weighted wattle in place, moved when required for tie-in work. | 02/05/19 |
| 19 | Storm events: 01/10/19=0.18"; 01/11/19=0.12"; 01/13/19= 0.11" ;01/18/19=0.07" | 01/22/19 |  | 01/22/19 |
| 20 | No additional site BMP corrective actions noted at the time of inspection. "Weighted" wattle at fence base on 57th street and Esperanza. Removed and replaced around tie-in work. Continue to monitor replacement of wattle and sweeping of sidewalk if necessary. | 02/05/19 |  | 02/05/19 |
| 21 | No site BMP corrective actions noted at the time of inspection. Storm events: 02/14/19=0.15", 02/19/19= Trace. | 02/20/19 |  | 02/20/19 |
| 22 | No site BMP corrective actions noted at the time of inspection. Storm events: 02/22/19=0.07", 02/23/19=0.01"/ trace, per Weather Underground: Yucca Flats NM KNMALBUQ712 | 03/07/19 |  | 03/07/19 |
| SWPPP Management Signature: Date: |  |  |  |  |