|  | Date: 09/05/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Gorman Contractors for Generations West. |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 01 | BMP's in place prior to earth disturbing activities. No site corrective actions noted at the time of inspection. | 08/14/18 |  | 08/14/18 |
| 02 | Maintain inlet at 57th and Avalon: Clear sediment, repair wattle and coco mat. | 08/28/18 |  | 09/04/18 |
| 03 | Post NOI at construction entrance. | 08/28/18 |  | 09/04/18 |
| 04 | No additional site BMP corrective actions noted at the time of inspection. | 09/04/18 |  | 09/04/18 |
| 05 | No additional site BMP corrective actions noted at the time of inspection. Sediment built up at inlet on 57 street caused by AUI from uphill slope. | 09/11/18 |  | 09/11/18 |
| 06 | No additional site BMP corrective actions noted at the time of inspection. | 09/18/18 |  | 09/18/18 |
| 07 | Add rock to trackout pad to prevent sediment transfer to street, continue to sweep exit. | 09/25/18 |  | 10/02/18 |
| 08 | No additional site BMP corrective actions noted at the time of inspection. Active work to remove stockpile from North east corner. | 10/02/18 |  | 10/02/18 |
| 09 | Sweep construction exit, sediment transfer to roadway. | 10/16/18 | 10/18/18 | 10/30/18 |
| 10 | Curb sweeping required from the construction exit and East to the inlet on 57th street. Remove built up sediment from inlet and maintain inlet BMP. | 10/30/18 |  | 11/13/18 |
| 11 | Sweep sidewalk at 57th and Esperanza, sediment escaping under wattle to sidewalk/ gutter. | 10/30/18 |  | 11/13/18 |
| 12 | Weighted wattle at fence base on Esperanza removed for clean up, assumed replaced at the end of day. | 11/13/18 |  | 11/13/18 |
| 13 | NOI should be posted at construction entrance, where the public can see the information. Inspector can provide ASAP. Cumulative storm events for 10/30-31/18 = 0.21" | 11/13/18 |  | 11/27/18 |
| 14 | No additional site BMP corrective actions noted at the time of inspection. ECP updated, NOI posted at entrance. | 11/27/18 |  | 11/27/18 |
| 15 | No additional site BMP corrective actions noted at the time of inspection. Rain event on 12/02/18 recorded at 0.09". | 12/11/18 |  | 12/11/18 |
| 16 | No additional site BMP corrective actions noted at the time of inspection. Precipitation event on 12/26/18 recorded at 0.23". | 12/26/18 |  | 12/26/18 |
| 17 | Fractured rock trackout pad required at construction entrance on 58th street. Curb sweeping required. Tie in work on 57th. | 01/08/19 |  | 01/22/19 |
| 18 | Replace wattles at fence base on 57th street and Esperanza. Sweep sidewalk when complete. | 01/22/19 | Weighted wattle in place, moved when required for tie-in work. | 02/05/19 |
| 19 | Storm events: 01/10/19=0.18"; 01/11/19=0.12"; 01/13/19= 0.11" ;01/18/19=0.07" | 01/22/19 |  | 01/22/19 |
| 20 | No additional site BMP corrective actions noted at the time of inspection. "Weighted" wattle at fence base on 57th street and Esperanza. Removed and replaced around tie-in work. Continue to monitor replacement of wattle and sweeping of sidewalk if necessary. | 02/05/19 |  | 02/05/19 |
| 21 | No site BMP corrective actions noted at the time of inspection. Storm events: 02/14/19=0.15", 02/19/19= Trace. | 02/20/19 |  | 02/20/19 |
| 22 | No site BMP corrective actions noted at the time of inspection. Storm events: 02/22/19=0.07", 02/23/19=0.01"/ trace, per Weather Underground: Yucca Flats NM KNMALBUQ712 | 03/07/19 |  | 03/07/19 |
| 23 | Storm Events: 03/11/19=0.21"; 03/12/19= 0.32". Cumulative events at 0.53" per Weather Underground: Yucca Flats NM KNMALBUQ712. Rain event report completed on 03/13/19. | 03/13/19 |  | 03/13/19 |
| 24 | Place trash in designated dumpster: Trash accumulating between buildings: C, E , F. | 03/21/19 | 04/01/19 | 04/04/19 |
| 25 | Remove concrete washout piles from the ground and place in the designated facility: buildings: C, E , F. | 03/21/19 | 04/01/19 | 04/04/19 |
| 26 | No site BMP corrective actions noted at the time of inspection. Storm events: 03/31/19=0.16" Yucca Flats NM KNMALBUQ712. | 04/04/19 |  | 04/04/19 |
| 27 | Add fractured rock, wattle or similar BMP to the West side of the construction exit at Esperanza. | 04/18/19 |  | 08/08/19 |
| 28 | Add fractured rock to track out pad on Avalon. | 04/18/19 |  | 08/22/19 |
| 29 | Storm events: 04/17/19=0.55" Yucca Flats NM KNMALBUQ712. | 04/18/19 |  | 04/18/19 |
| 30 | Fluff wattles along the West side security fence, wattles overrun by sediment. | 05/03/19 | Sidewalks in progress. | 07/11/19 |
| 31 | Remove escaped concrete washout from the ground at the roll off near the Esperanza exit. | 05/03/19 |  | 05/16/19 |
| 32 | Remove built up sediment at the inlet East of the Avalon exit. | 05/03/19 |  | 06/14/19 |
| 33 | Clear stucco washout from the ground at the NE building and place in a designated washout facility. | 05/03/19 |  | 05/16/19 |
| 34 | Storm events: 04/22/19=0.20" Yucca Flats NM KNMALBUQ712. | 05/03/19 |  | 05/03/19 |
| 35 | Storm event: 05/10/19=0.26" Yucca Flats. Storm event report completed: 05/13/19. | 05/13/19 |  | 05/13/19 |
| 36 | Install BMP on the South side of the construction exit at Esperanza. Gravel bags, wattle or similar BMP. Shovel sediment from gutter to inlet at fire station when complete. | 05/17/19 | Sediment in gutter removed. | 08/08/19 |
| 37 | Remove concrete washout from the ground, near construction exit on Avalon. | 05/31/19 |  | 07/11/19 |
| 38 | Add wattle to fence base at Esperanza exit. | 06/14/19 |  | 07/11/19 |
| 39 | No additional site BMP corrective actions noted at the time of inspection. | 06/20/19 |  | 06/20/19 |
| 40 | No additional site BMP corrective actions noted at the time of inspection. | 06/27/19 |  | 06/27/19 |
| 41 | No additional site BMP corrective actions noted at the time of inspection. Final stabilization efforts continue. Storm event on 06/27/19= 0.03" | 07/05/19 |  | 07/05/19 |
| 42 | No additional site BMP corrective actions noted at the time of inspection. Sidewalks in progress on the East side at property boundary, earth berm and hardened ground in place. No escaped washout on site during inspection. Storm event on 07/06-07/19= 0.32" per Weather Underground and on site gauge. Storm inspection completed on 07/08/19. | 07/11/19 |  | 07/11/19 |
| 43 | No additional site BMP corrective actions noted at the time of inspection. Storm event on 07/16/19= 0.10" per Weather Underground and on site gauge. | 07/18/19 |  | 07/18/19 |
| 44 | No additional site BMP corrective actions noted at the time of inspection. Vault box install at North exit, assumed sweeping when complete. | 07/25/19 |  | 07/25/19 |
| 45 | Storm event on 07/25-26/19= 0.45" per Weather Underground and on site gauge. Storm inspection completed on 07/26/19. | 07/26/19 |  | 07/26/19 |
| 46 | Clear sediment built up on inlet BMP's, both on site and at Avalon and 57th. | 08/01/19 | Onsite repaired. Paving preps. | 08/29/19 |
| 47 | No additional site BMP corrective actions noted at the time of inspection. Drive pad in progress at "Esperanza" exit. Cut back maintained at pavement break. Block wall and sidewalks in place, west side at 58th street. Wattles maintained along east property boundary. Storm event on 08/03/19= 0.17" per Weather Underground and on site gauge. | 08/08/19 |  | 08/08/19 |
| 48 | No additional site BMP corrective actions noted at the time of inspection. Storm event on 08/08/19= 0.08"; 08/11/19= 0.10" per Weather Underground and on site gauge. | 08/15/19 |  | 08/15/19 |
| 49 | No additional site BMP corrective actions noted at the time of inspection. Drive pad/ curb work forms and cut back in place at exit locations: Esperanza and Avalon. Storm event on 08/21/19= 0.12". | 08/22/19 |  | 08/22/19 |
| 50 | No additional site BMP corrective actions noted at the time of inspection. Paving operation staged. Storm event on 08/27/19= 0.05". | 08/29/19 |  | 08/29/19 |
| 51 | No additional site BMP corrective actions noted at the time of inspection. Rip rap swale work continues on the east and north ends. Base course in place for paving preparations. Also in place: curbs, sidewalks, ponds. Storm event on 09/03/19= 0.08". |  |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |