January 23, 2019

Don Briggs, P.E.

Don Briggs Engineering, LLC

5324 Oakledge Ct NW

Albuquerque, NM 87125

**Re: Sunset Villa Subd Pond Recovery**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 1-13-19 (K12E003\_Hahn)**

Dear Mr. Briggs,

Based upon the information provided in your submittal received 1-14-19, the above referenced plan is approved to be included in the SWPPP and for NOI documentation review with the following condition:

1. Lot 49A has silt fence where the large “X”s are shown.

 If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email