FIGURE 1: South curb line of Mae Street SW with 6’ City sidewalk at back of     curb and asphalt paving from back of sidewalk to fence line.  Date of photography 05-01-2011.

FIGURE 2: View of area behind fence where it appears students wait for the bus.  The ornamental fence has 4 existing gate openings and a small asphalt paved pad at each opening.  Steel bollards exist at each end; purpose not known.  More fencing might be appropriate to control the flow of students across existing landscaping.  Date of photography 05-01-2011.

FIGURE 3: Another view of area behind fence.  Date of photograph 05-01-2011.

FIGURE 4: Close-up view of existing drainage problem that can be solved by minor re-grading and sidewalk culverts.  Date of photograph 05-01-2011.

FIGURE 5: One of 3 existing roof drains that discharge to the landscaped area.  Date of photograph 05-01-2011.

FIGURE 6: Easternmost roof drain.  Date of photograph 05-01-2011.

FIGURE 7: Third roof drain at west end of building.  Discharge from middle roof drain visible in foreground.  Date of photograph 05-01-2011.