November 1, 2013

Richard J. Berry, Mayor

Levi Valdez, P.E.

c/o:  George Rodriguez

George Rodriguez Development Consulting

12800 San Juan NE

Albuquerque, NM 87102

RE:	PAVING PLAN – 4010 Central Ave. SW			  # K12-D033

Grading Plan for Paving Permit & SO-19			 PE Stamp: 11/1/2013

Dear Mr. Valdez,

Based upon the information provided in your submittal received on 11/1/13, the above referenced Grading Plan is approved for Grading and Paving Permit, and SO-19 Permit, for the sidewalk culvert on Atrisco Drive.

A separate Excavation/Barricading Permit is required for SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the permit.  If there is a Work Order associated with this project, this work is to be included in the Work Order.  To obtain a C.O., the storm drain work in the City ROW must be inspected and accepted.  Please contact Jason Rodriguez, 857-8074, to schedule an inspection.

A Certified copy of this plan will be required following completion of the Paving and sidewalk culvert, SO-19 work.

If you have any questions, please contact me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  K12-D033

c.pdf	Addressee via Email:  pawrod@hotmail.com

eCopy:	Antoinette Baldonado, Excavation and Barricading, ABaldonado@cabq.gov

Jason Rodriguez, Street/Storm Drain Maintenance,  JTRodriguez@cabq.gov