February 24, 2017

David Tull, P.E.

Green Globe Environmental NM, LLC

8505 Paseo Alameda NE

Albuquerque, NM 87113

**Re: Sterling Downtown**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 2-17-17 (K13E013)**

Dear Mr. Tull,

Based upon the information provided in your submittal received 2-23-17 the above referenced plan is approved to be included in the SWPPP and to apply for an ESC permit for grading and Building Permit.

Include a copy of the approved plan in the Building Permit set.

This project will have work in the City street/ROW. The construction will most likely include relocation of an inlet (Outfall #1) and curb and gutter removal/installation. A revised plan may be required for Work Oder approval. Please contact the consultant that is preparing plans for more information.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email