|  | Date: 06/12/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Central and Broadway Hotel |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI at a location accesable for public viewing | 03/20/19 |  | 04/03/19 |
| 2 | Install a rain gauge | 03/20/19 |  | 04/03/19 |
| 3 | No new issues at the time of this inspection | 04/03/19 |  | 04/03/19 |
| 4 | No new issues at the time of this inspection | 04/17/19 |  | 04/17/19 |
| 5 | The site looked good. No new issues at the time of this inspection. | 05/01/19 |  | 05/01/19 |
| 6 | Only able to view the job site from the perimeter. No new issues at the time of this inspection. | 05/16/19 |  | 05/16/19 |
| 7 | No new issues at the time of this inspection | 05/29/19 |  | 05/29/19 |
| 8 | Install a concrete washout area for trucks, mixers and any other washout water. Use linings for concrete washouts. | 06/12/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |