November 30, 2011

Scott M. McGee, P.E.

9700 Tanoan Dr NE

Albuquerque, NM 87111

Re:	Immaculate Conception Church & St. Mar’s School Addition Grading and 	Drainage Plan, Engineer’s Stamp dated 10-21-11 (K14/D102)                       	619 Copper Ave., NW

Dear Mr. McGee,

Based upon the information provided in your submittal received 11-15-11, the above referenced plan cannot be approved for Building Permit until the following comments are addressed:

- Provide additional spot elevations to assure that runoff for the northerly addition will drain out to 6th Street via the existing entrance.

- The landscaping areas on the three sides of the southerly addition should be depressed to retain/infiltrate the first  ½” of the rain.  Please provide ponding calculations.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	file