August 6, 2012

George Rodriguez,

Levi Valdez George Rodriguez Development Consulting

12800 San Juan NE

Albuquerque, NM 87102

Re:	4-Plex Vassar Apartments, 424 Vassar SE

Grading and Drainage Plan

Engineer’s Stamp dated 7-19-12 (K-16/D080)

Dear Mr. Rodriguez,

Based upon the information provided in your submittal received 7-23-12, the above referenced plan can not be approved for Building Permit until the following comments are addressed.

- How are the flows leaving the north side of the building. It appears the walls are blocking the flows.

- What is the swale composed of? A cross section of the swale would be helpful.

- We would like to see the flows leave the site through the driveway and not over the public sidewalk.

- Depress all landscape areas to retain the moisture which falls on them.

- Alley must be paved according to work order process.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RER/SB

C:	email