August 10, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: APS Highland High School Gymnasium Upgrade**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 8-3-17 (K17E021)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 8-4-17, the above referenced plan is not approved to be included in the SWPPP or to apply for an ESC Permit for grading or to be included in the Work Order construction plans until the following comments is addressed:

 1. Provide BMPs for the proposed utility and street work in Jackson St.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.