October 29, 2008

Jeffrey G. Mortensen, P.E.

High Mesa Consulting Group

6010-B Midway Park Blvd. NE

Albuquerque, NM 87109

RE:	Highland High School – Old Figge Hall Demolition (for Lecture Hall Addition)

Grading Plan for Grading Permit 	(P.E. Stamp  10/20/2008)   File:  K17 / D021 C

Dear Mr. Mortensen:

Based upon the information provided in your submittal received 10/20/08, the above referenced Grading and Drainage Plan is approved for Grading Permit for the demolition of Old Figge Hall.

It is understood from your submittal that the need for this approval is contingent upon funding of the adjacent Lecture Hall Addition (also file K17 / D021-C).

Upon completion of the project, please provide an Engineer Certification of final grades and conditions for our files.

If I can be of further assistance, please feel free to contact me at 924-3981.

Sincerely,

Gregory R. Olson, P.E.

Hydrology Section

XC:	Brad Bingham, COA/Hydrology

Drainage file:  K17-D021 C