May 22, 2014

Scott M. McGee, P.E.

9700 Tanoan Dr NE

Albuquerque, NM 87111

Re:	Weeping Willow Plaza

Lot 35-A, Block 39, Valley View Addition

5001 Central Ave., NE, Grading and Drainage Plan

Engineer’s Stamp Date 5-21-13 (K17D107)

Dear Mr. McGee,

Based upon the information provided in your submittal received 5-21-14, the grading and Drainage Plan is approved for Building Permit and SO-19 Permit.  A previous Grading and Drainage Plan was submitted 11-19-13 (Engineer’s Stamp Date 11-15-13) and was approved.  The only apparent change is that 4 planters have been added and a new 4” pipe through the curb.

A separate SO-19 permit is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  The work in the City ROW must be inspected and accepted.  Contractor must contact Jason Rodriquez at 235-8016 and Construction Coordination at 924-3416 to schedule an inspection.

Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Rita Harmon, P.E.

Senior Engineer, Planning Dept.

Development Review Services

Orig:	Drainage file

c.pdf:	via Email:  Recipient, Tim Sims, Monica Ortiz