December 6, 2012

Jean J. Bordenave, P.E.

Bordenave Designs

PO Box 91494

Albuquerque, NM 87123

Re:	Leyba Body Shop, Lot 16A/Block 3, Mesa Verde Addition, 103 Tennessee NE

Grading and Drainage Plan

Engineer’s Stamp dated 12-02-12 (K19/D146)

Dear Mr. Bordenave,

Based upon the information provided in your submittal received 12-04-12, the above referenced report can not be approved for building permit until the following comments are addressed:

- How are the flows from the east lot being accepted? It appears that the curbing is blocking the flows from entering your site.

- Remove note 10 where it is placed in odd places.

- Place spot elevations around the perimeter of the site.

- What type of treatment is being placed behind the Curbing at the south end of the site?

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	e-mail