January 27, 2015

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St NE

Albuquerque, NM 87108

Re:	Mile High Little League

Grading and Drainage Plan

Sheets 4, 5, & 6 of 11 With Engineer’s Stamp Date 1/21/2015, (K21/D002A)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 1-22-15, the grading and Drainage Plan is approved for Grading and Paving Permit. Please make sure that the grades around handicap parking are adjusted based on the changes on the site plan with Landscape Architect Stamp Date 1/26/2015 (Sheets 7, 8, & 11 of 11).

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology. Please provide Engineer Certification per the DPM checklist once the construction is completed.

If you have any questions, you can contact me at 924-3999.

Sincerely,

Shahab Biazar, P.E.

City Engineer, Planning Department

Development Review Services

C:	e-mail