December 6, 2016

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Lomas Townhouses- 12844 Lomas Blvd NE**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 12-2-16 (K22E057)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 12-2-16 the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the following condition:

The “Wattle for Sewer Utility Cut” should also be used for the grading that will occur in the alley or the silt fence could be extended south.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email