|  | Date: 05/11/20 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Maverick Gas Station on Juan Tabo |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Install a rain gauge | 07/10/19 |  | 07/26/19 |
| 2 | Ensure there is a spill kit | 07/10/19 |  | 07/24/19 |
| 3 | Remove the blow away trash around the site perimeter | 07/17/19 |  | 07/24/19 |
| 4 | Install a rock pad entrance to reduce tracking of sediment onto streets. | 07/17/19 |  | 07/24/19 |
| 5 | Sweep on Copper Ave. and Zia Rd. for off site tracking | 07/24/19 |  | 07/31/19 |
| 6 | Install Mulch sock at the Northwest corner and Southeast corner of the site. Approx. 150' to prevent sediment runoff going down the street. | 07/31/19 |  | 08/07/19 |
| 7 | Have an authorized representative from Insight Construction Sign the Certification and Delegation Letter in the SWPPP Book | 07/31/19 |  | 08/21/19 |
| 8 | No new issues at the time of this inspection | 08/07/19 |  | 08/07/19 |
| 9 | The site looked good . No new issues at the time of this inspection | 08/14/19 |  | 08/14/19 |
| 10 | No new issues at the time of this inspection | 08/21/19 |  | 08/21/19 |
| 11 | No new issues at the time of this inspection | 08/28/19 |  | 08/28/19 |
| 12 | The site looked good . No new issues at the time of this inspection | 09/04/19 |  | 09/04/19 |
| 13 | Remove the dirt against the security fence along Zia Road and adjust the mulch sock | 09/11/19 |  | 12/18/19 |
| 14 | No new issues at the time of this inspection | 09/18/19 |  | 09/18/19 |
| 15 | No new issues at the time of this inspection | 09/25/19 |  | 09/25/19 |
| 16 | Sweep at the entrance for off site tracking | 10/09/19 |  | 12/18/19 |
| 17 | The trash bin needs to be emptied | 10/23/19 |  | 11/06/19 |
| 18 | Repair or replace the silt fencing on Paisano and Zia Road. | 10/23/19 |  | 11/20/19 |
| 19 | Clean up the concrete washed out at the corner of Juan Tabo and Copper Ave, | 10/23/19 |  | 11/06/19 |
| 20 | Clean up the concrete washed out at the south side of the building. | 11/06/19 |  | 11/20/19 |
| 21 | Clean the inlet protection on Copper Ave, | 11/06/19 |  |  |
| 22 | Sweep at the entrance for off site tracking | 11/20/19 |  | 12/18/19 |
| 23 | Install Construction Entrance/Track Out Pad. 12/18/19 The site will be paved next week. | 12/04/2019 |  | 12/18/19 |
| 24 | Install Stock pile Protection | 12/04/2019 |  | 01/02/20 |
| 25 | No new issues at the time of this inspection | 12/18/19 |  | 12/18/19 |
| 26 | No new issues at the time of this inspection | 01/02/20 |  | 01/02/20 |
| 27 | The site has been stabilized. Paving has been completed, Remove the inlet protection on Copper Ave. | 01/15/20 |  | 03/30/20 |
| 28 | 1 inlet protection on Copper Ave. Has fallen into the inlet and needs to be removed the site is 100% stabilized. | 03/16/20 |  | 03/30/20 |
| 29 | The site looks great | 03/30/20 |  | 03/30/20 |
| 30 | Everything looked good | 04/13/20 |  | 04/13/20 |
| 31 | No new issues at the time of this inspection | 04/27/20 |  | 04/27/20 |
| 32 | The site looks great at the time of inspection | 05/11/20 |  | 05/11/20 |
| SWPPP Management Signature: Date: |  |  |  |  |