|  | Date: 08/14/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Maverick Gas Station on Juan Tabo |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Install a rain gauge | 07/10/19 |  | 07/26/19 |
| 2 | Ensure there is a spill kit | 07/10/19 |  | 07/24/19 |
| 3 | Remove the blow away trash around the site perimeter | 07/17/19 |  | 07/24/19 |
| 4 | Install a rock pad entrance to reduce tracking of sediment onto streets. | 07/17/19 |  | 07/24/19 |
| 5 | Sweep on Copper Ave. and Zia Rd. for off site tracking | 07/24/19 |  | 07/31/19 |
| 6 | Install Mulch sock at the Northwest corner and Southeast corner of the site. Approx. 150' to prevent sediment runoff going down the street. | 07/31/19 |  | 08/07/19 |
| 7 | Have an authorized representative from Insight Construction Sign the Certification and Delegation Letter in the SWPPP Book | 07/31/19 |  |  |
| 8 | No new issues at the time of this inspection | 08/07/19 |  | 08/07/19 |
| 9 | The site looked good . No new issues at the time of this inspection | 08/14/19 |  | 08/14/19 |
| SWPPP Management Signature: Date: |  |  |  |  |