August 20, 2012

Philip W. Clark, P.E.

Clark Consulting Engineers

19 Ryan Road

Edgewood, NM 87015

Re:	Bridge Blvd. & Eucariz Grading and Drainage Plan

Lot 316A, Unit 3, Town of Atrisco Grant

Engineer’s Stamp dated 07-20-2012 (L-11/D067)

Dear Mr. Clark,

Based upon the information provided in your submittal dated 07-25-12, the above referenced plan cannot be approved for Preliminary Plat Approval or Building Permit until the following comments have been addressed:

- Please show the depressed backyard ponding areas on the grading plan.

- Provide pond calculations for each of the backyard ponds.

- Include all proposed contours on the plan.

- Various proposed swales do not have arrows indicating the direction of the flow. Will the proposed southeastern swale affect the existing structure on adjacent Lot 317A2?

- It appears the swales along the northern property line also direct flow east to Lot 317A1.

- Lots 2 and 5 are not labeled on the plan.

- Provide additional spot elevations around the four corners of the house pads on all lots as you have done for Lot 6.

- Lots 1 and 4 show the roofs pitching to the east and west, is this typical for the remaining homes?

- Top-of-wall elevations are needed for the proposed block wall separating the northern and southern lots. Please include a detail of this wall in the grading plan.

- The existing contours shown on the plan should be carried out another 20 feet from the property lines.

If you have any questions, you can contact me at 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  L11/D067

c.pdf	Addressee via Email: CCEalbq@aol.com