August 10, 2012

Mark Goodwin, P.E.

Mark Goodwin & Associates, PA

P.O. Box 90606

Albuquerque, New Mexico  87199

Re:	Cornucopia Center / Greenhouse–Grading & Drainage Plan   (L12-D011)

2002 Bridge Blvd. SW    				P.E. Stamp dated:  8-8-12

Dear Mr. Goodman,

Based upon the information provided in your submittal received August 8, 2012, the subject Grading and Drainage Plan is approved for Grading Permit and Building Permit.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy approval, an Engineer’s Certification of compliance with this Grading and Drainage plan is required per the DPM.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf

If you have any questions, you may contact me by email at grolson@cabq.gov, or telephone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  L12/D011

c.pdf	Addressee via Email  Mark@GoodwinEngineers.com

Mike@MullinHeller.com