December 15, 2011

John M. Provine, P.E.

Molzen-Corbin

2701 Miles Rd SE

Albuquerque, NM 87106

Re:	Fire Station No. 2, Grading and Drainage Plan

Engineer’s Stamp dated 12-8-11 (L15/D060)

Dear Mr. Provine,

Based upon the information provided in your submittal received 12-9-11 and concurrence from UNM to grade on UNM property, the above referenced plan is approved for Site Plan for Building Permit action by the DRB.

Prior to Building Permit approval:

- A drainage easement will be required for the offsite pond, if the pond is to be built.

- Additional grades will be required including: TW/BW, spot elevations in the parking and drive areas, direction of roof flows, etc.

If you have any questions, you can contact me at 924-3986

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

Copy: file