December 20, 2012

Tim Hightower

10212	Arroyo Bend NW

Albuquerque, NM 87114

Re:	Mitchell Residence, 2939 San Rafael SE

Engineer’s Stamp dated 12-17-2012 (L-16/D026)

Dear Mr. Hightower,

Despite the calculation discrepancy on the above referenced plan it appears the pond volume will be more than adequate to detain flows from the property. The rip rap emergency overflow channel can be omitted from the plan and overflow from the backyard pond can continue to sheet flow as it did historically in the event that water were to overtop the pond. If the western retaining wall is extended vertically in the future with a garden wall we would like to see turn blocks placed in the garden wall to allow for the pond to overflow as designed.

This plan is approved for Building Permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

C:	email

GO/CJH