July 11, 2008

Mr. Verlyn A. Miller, P.E.

Miller Engineering Consultants

3500 Comanche Boulevard  N.E.,  Bldg. F

Albuquerque, New Mexico  87107

RE:	Bandelier Elementary School -  3309 Pershing SE		(L16–D 028)

Change Order #1 to Grading & Drainage Plan

for Building Permit and  SO-19	   		(PE Stamped 07-10-08)

Dear Mr. Miller,

Based upon the information provided in your submittal received 7-11-08, the above referenced change order is approved for Building Permit & SO 19 Permit, with the condition that the pipe connection to existing City inlet must be sealed with non-shrink grout.

Please incorporate these revisions into the Certified Grading and Drainage Plan required for Certificate of Occupancy.

A separate permit is required for the construction within City ROW and “SO-19” connection to the existing inlet.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.

To obtain a Building CO, an Engineer Certification of the Grading Plan is required per the DPM, and the storm drain work in the City ROW must be inspected and accepted.

Please contact Duane Schmitz, 235-8016, to schedule an inspection of the SO-19 work.

If you have any questions, you can contact me at 924-3981.

Sincerely,

Gregory R. Olson, P.E.

Hydrology Section

XC:	Bradley Bingham, COA-PLN/Hydrology

Antoinette Baldonado, Excavation and Barricading

Duane Schmitz, Street/Storm Drain Maintenance  (w/ Copy of Plan)

Drainage file:  L16 – D 028