December 4, 2013

Jake Bordenave

Bordenave Designs

PO Box 91194

Albuquerque, NM 87109

Re: Gibson Apartments 4801 Gibson Blvd SE

Request for Permanent C.O. – 30 day Temp.

Engineers Stamp Date: 10-31-11 (L17-D024)

Certification Dated: 12-02-13

Dear Mr. Bordenave,

Based upon the information provided in the Certification received 12-02-13, the above referenced certification is acceptable for a temporary Certificate of Occupancy of 30 days. A Permanent Certificate of occupancy will be given once the following issue is corrected.

- The NE corner of the landscape area is missing a corner block. This will allow moisture to escape into the lots just to the NE and east.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	CO Clerk: Katrina Sigala

file