February 8, 2018

Robert Adams, P.E.

Adams Engineering

8951 Cypress Waters Blvd, Suite 150

Dallas, TX 75019

**Re: McDonald’s- 5001 Gibson SE**

**Erosion and Control Plan**

**Engineer’s Stamp Date 1-9-18 (L18E053)**

Dear Mr. Adams,

Based upon the information provided in your submittal received 2-8-18, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the understanding that the following note is applicable.

Inspection of erosion and sediment control and other protective measures are required, at a minimum, once every 14 days and after a precipitation event of ¼ inch or greater until the site is considered stabilized by the City. Inspection reports are to be kept by the person or entity authorized to direct construction activities on the site.

 Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email