December 12, 2012

Diane Hoelzer, P.E.

Mark Goodwin & Associates, PA

P.O. Box 90606

Albuquerque, NM 87199

Re:	Animal Humane of New Mexico, 615 Virginia St. Grading and Drainage Plan

Engineer’s Stamp dated 12-05-2012 (L-19/D016)

Dear Ms. Hoelzer,

Based upon the information provided in your submittal dated12-06-2012, the above referenced plan is approved for Building Permit and SO-19 Permit. A separate permit (SO 19) is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  If there is a Work Order associated with this project, this work is to be included in the Work Order.

To obtain a permanent Certificate of Occupancy, the storm drain work (individualize) in the City ROW must be inspected and accepted.  Please contact Martin Pacheco, 235-8016, to schedule an inspection.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required. If you have any questions, you can contact me at 924-3994.

Sincerely,

Greg Olson, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	Email