PLANNING DEPARTMENT – Development & Building Services

L19-D016 Rev2_GP For BP Approval_12-12-12seal-Animal Humane.Doc
December 13, 2012

December 13, 2012
Diane Hoelzer, P.E.

Mark Goodwin & Associates, PA

P.O. Box 90606

Albuquerque, NM 87199

Re:
Animal Humane-New Mexico, Revised Grade & Drain Plan     # L19 / D016
615 Virginia St.  SE


Engineer’s Stamp dated  12-12-2012  

Dear Ms. Hoelzer,
Based upon the information provided in your submittal dated12-06-2012, and amended plan and calculations received yesterday, the above referenced plan is approved for Building Permit and SO-19 Permit for private drainage improvements in public R/W.  

Attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.    
A separate permit (SO 19) is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  
Prior to Certificate of Occupancy approval, an Engineer’s Certification of compliance with this Grading and Drainage plan is required.  The SO-19, storm drain work must also be inspected and accepted.  Contact Jason Rodriguez, 235-8016, to schedule an inspection.   
Since area disturbed exceeds 1 acre, this project requires a National Pollutant Discharge Elimination System (NPDES) permit and Storm Water Pollution Prevention Plan (SWPPP) for construction.  
If you have any questions, you can contact me at 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:
Drainage file  L19/D016
c.pdf
Addressee via Email  Diane@GoodwinEngineers.com
Antoinette Baldonado, Excavation and Barricading ABaldonado@cabq.gov 
Jason Rodriguez, Street/Storm Drain Maintenance JTRodriguez@cabq.gov 
Kathleen Verhage, DMD/Storm Drainage, KVerhage@cabq.gov 
    Richard J. Berry, Mayor










1 of 1
L19-D016 Rev2_GP for BP Approval_12-12-12seal-Animal Humane.doc


1 of 1
L19-D016 Rev2_GP for BP Approval_12-12-12seal-Animal Humane.doc

