August 24, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: 9700 Trumbull**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 8-16-17 (L20E051)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 8-17-17, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit and to be included in the Work Order construction plans with the following conditions:.

1. The ponds are to be graded with the initial grading of the site. Please inform the owner/contractor.

2. The plan is approved for construction activities as shown on this plan. If additional construction activities are shown on the Work Order construction plans or other plans, an additional or revised Erosion and Sediment Control plan may be required.

Include a copy of the approved plan in the Building Permit set.

Include a copy of the approved plan in the Work Order construction plans.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email