Stormwater Construction Site Inspection Report



CSR

| General Information |  |  |  |
| --- | --- | --- | --- |
| Project Name | Keenan Properties_12900 Central Ave |  |  |
| NPDES Tracking No. | NMR1002TX | Location | Albuquerque, NM |
| Date of Inspection | 3/10/20 | Start/End Time | 4:40-5:15 pm |
| Inspector’s Name(s) | Josh Silva |  |  |
| Inspector’s Title(s) | Inspector |  |  |
| Inspector’s Contact Information | 505 699 5913 |  |  |
| Inspector’s Qualifications | SEE SWPPP Plan |  |  |
| Describe present phase of construction | Drain and Trail Improvements |  |  |
| Type of Inspection: X Regular  Pre-storm event During storm event  Post-storm event |  |  |  |
| Weather Information |  |  |  |
| Has there been a storm event since the last inspection?  Yes x No RAIN GAUGE READING: 0” If yes, provide: Storm Start Date & Time: Approximate Amount of Precipitation (in): |  |  |  |
| Weather at time of this inspection? X Clear  Cloudy  Rain  Sleet  Fog  Snowing  High Winds  Other: Temperature: 62F |  |  |  |
| Have any discharges occurred since the last inspection? Yes xNo If yes, describe: |  |  |  |
| Are there any discharges at the time of inspection? Yes xNo If yes, describe: |  |  |  |

Site-specific BMPs

|  | BMP | BMP Installed? | BMP Maint. Required? | Corrective Action Needed and Notes |  |  | BMP | BMP Installed? | BMP Maint. Required? | Corrective Action Needed and Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Silt Fence | xYes No | Yes xNo | Stable |  | 13 |  | Yes No | Yes No |  |
| 2 |  | Yes No | Yes No |  |  | 14 |  | Yes No | Yes No |  |
| 3 |  | Yes No | Yes No |  |  | 15 |  | Yes No | Yes No |  |
| 4 |  | Yes No | Yes No |  |  | 16 |  | Yes No | Yes No |  |
| 5 |  | Yes No | Yes No |  |  | 17 |  | Yes No | Yes No |  |
| 6 |  | Yes No | Yes No |  |  | 18 |  | Yes No | Yes No |  |
| 7 |  | Yes No | Yes No |  |  | 19 |  | Yes No | Yes No |  |
| 8 |  | Yes No | Yes No |  |  | 20 |  | Yes No | Yes No |  |
| 9 |  | Yes No | Yes No |  |  | 21 |  | Yes No | Yes No |  |
| 10 |  | Yes No | Yes No |  |  | 22 |  | Yes No | Yes No |  |
| 11 |  | Yes No | Yes No |  |  | 23 |  | Yes No | Yes No |  |

Overall Site Issues

|  | BMP/activity | Implemented? | Maintenance Required? | Corrective Action Needed and Notes |
| --- | --- | --- | --- | --- |
| 1 | Are all slopes and disturbed areas not actively being worked properly stabilized? | xYes No | Yes xNo | Project is active and there is no temp stabilization needed |
| 2 | Are natural resource areas (e.g., streams, wetlands, mature trees, etc.) protected with barriers or similar BMPs? | xYes No | Yes xNo | Silt Fence installed at discharge locations on perimeter – ensure it makes good contact with ground |
| 3 | Are perimeter controls and sediment barriers adequately installed (keyed into substrate) and maintained? | xYes No | Yes xNo | Stable |
| 4 | Are discharge points and receiving waters free of any sediment deposits (check for signs of visible erosion)? | xYes No | Yes xNo | No discharges or erosion observed |
| 5 | Are storm drain inlets properly protected? | xYes No | Yes xNo | NA |
| 6 | Is the construction exit preventing sediment from being tracked into the street? | xYes No | Yes xNo | No sediment on roadway |
| 7 | Is trash/litter from work areas collected and placed in covered dumpsters? | xYes No | Yes xNo | No trash observed |
| 8 | Are washout facilities (e.g., paint, stucco, concrete) available, clearly marked, and maintained? | xYes  No | Yes xNo | Stable |
| 9 | Are vehicle and equipment fueling, cleaning, and maintenance areas free of spills, leaks, or any other deleterious material? | xYes No | Yes xNo | No leaks observed |
| 10 | Are materials that are potential stormwater contaminants stored inside or under cover? | xYes No | Yes xNo | None observed onsite during inspection |
| 11 | Are non-stormwater discharges (e.g., wash water, dewatering) properly controlled? | xYes No | Yes xNo | No issues |
| 12 | (Other) | Yes No | Yes No |  |

Non-Compliance

Describe any incidents of non-compliance not described above and any other comments about project: SUMMARY OF FINDINGS: - No incidents of non-compliance. - Ensure Silt fence makes good contact with ground – shovel dirt on bottom of silt fence to make it difficult for sheet flow to get under silt fence. - Monitor trackout closely.

CERTIFICATION STATEMENT

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

Print name and title: ______Josh Silva     SWPPP Inspector ___________________________

Signature:______Josh Silva _________________________  Date:____3/10/20___________

** Also have authorized signature of Owner/Operator**