October 9, 2012

Philip W. Clark, P.E.

Clark Consulting Engineers

19 Ryan Road

Edgewood, NM 87015

Re:	Tuan Van Huynh Residence Grading and Drainage Plan

Engineer’s Stamp dated 08-25-12 (L-23/D001D)

Dear Mr. Clark,

Based on revised plan submitted on 9/28/2012 the grading and drainage is approved  for Building Permit.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  The following comments have to be addressed prior to Final Certification of Occupancy:

- Since the topography does not represent the exiting graded areas, as-built grades will be required.

- Slopes treatment will be needed for the slopes exceeding 3:1 grades.

- There is also an existing retaining wall within the 5’ drainage easement along the southerly boundary.  Need to make sure that this retaining wall will adversely impact the offsite runoff.

- No runoff should drain over the slopes to the south.  The runoff from the constructed area should be intercepted by inlet(s) and piped to the bottom of the slopes.

- A variance will be required if the proposed wall shown on the plan exceeds 8’ (retaining wall + garden wall).

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/Hydrology.html).

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

# C:	e-mail