October 8, 2013

Richard J. Berry, Mayor

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, New Mexico  87199

RE: 	Beehive Homes - SW Corner Four Hills Road and Wenonah NE 	L23/D022

Four Hills Village Shopping Center, Tract 1-B2 		PE Stamp: 10/4/2013

Grading & Drainage Plan for Grading Permit and Building Permit

Dear Mr. Soule,

Your Drainage submittal received 10/4/2013 meets the requirements for approval for Grading Permit and Building Permit.

Please be advised that, before either Permit can be issued, an Erosion and Sediment Control Plan prepared by a registered engineer under the laws of the State of New Mexico must be prepared, submitted and approved by this office.

Since the channel penetration will require work within the "Floodplain" of the Four Hills

Channel, the contractor will also need to complete a Floodplain Permit, prior to beginning that work.  I am attaching a copy of the permit application for reference.

Please include this approved plan in the Building Permit, construction sets prior to requesting sign-off by Hydrology.

Prior to Certificate of Occupancy release, an Engineer's Certification of the As-Built Grading and Drainage Plan will be required, per the DPM checklist.

The Hydrology Section is requesting that consultants submit a digital copy of the signed grading and drainage plans submitted and approved for Building Pemzitfor our records. Please email a ".pdf"  copy of the approved, signed plan to me for filing.

If you have any questions, please contact me at grolson@cabq.gov or phone 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  L23-D022

c.pdf	Addressee via Email: david@riograndeengineering.com