- - Revised - -

October 9, 2013

Richard J. Berry, Mayor

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, New Mexico  87199

RE: 	Beehive Homes - SW Corner Four Hills Road and Wenonah NE 	L23/D022

Four Hills Village Shopping Center, Tract 1-B2 		PE Stamp: 10/4/2013

Grading & Drainage Plan for Grading Permit, Building Permit and SO-19

Dear Mr. Soule,

Your Drainage submittal received 10/4/2013 meets the requirements for approval for Grading Permit, Building Permit, and Special Order 19 (SO-19).

Please be advised that, before any of these permits can be issued, an Erosion and Sediment Control Plan prepared by a registered engineer under the laws of the State of New Mexico must be prepared, submitted and approved by this office.

A separate Excavation/Barricading Permit is required for SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  To obtain a Certificate of Occupancy, the storm drain connection to the Four Hills Channel, which is in the City R/W, must be inspected and accepted.  Please contact Jason Rodriguez, Storm Drain Maintenance, at 857-8074 to schedule inspections during channel wall cutting and pipe penetration work.

Since the channel penetration (SO-19) will require work within the "Floodplain" of the Four Hills Channel, the contractor will also need to complete a Floodplain Permit, prior to beginning that work.  I am attaching a copy of the permit application for reference.

Please include this approved plan in the Building Permit, construction sets prior to requesting sign-off by Hydrology.

Prior to Certificate of Occupancy release, an Engineer's Certification of the As-Built Grading and Drainage Plan will be required, per the DPM checklist.

The Hydrology Section is requesting that consultants submit a digital copy for our records, of the signed grading & drainage plans submitted and approved for Building Permit.  Please email a ".pdf"  copy of the approved, signed plan to me for filing.

If you have any questions, please contact me at grolson@cabq.gov or phone 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Attached:	Floodplain Permit form

Orig:	Drainage file  L23-D022

c.pdf	Addressee via Email: david@riograndeengineering.com

Email Copy to:

Antoinette Baldonado, Excavation and Barricading, ABaldonado@cabq.gov

Jason Rodriguez, Street/Storm Drain Maintenance,  JTRodriguez@cabq.gov

CHECKLIST: (partial for Drainage)

- ESC Plan must be approved by Hydrology (separate from SWPPP)

- ENOI submitted to EPA by Owner and Operator

- Owner and Operator submit ESC Permit applications to Hydrology

- Submit digital copy of Signed G&D Plan to Hydrology for file record

- Approved G&D Plan included in Building Permit plan sets prior to Hydrology approval

- Contractor obtains Excavation Permit AND SO-19 Permit from DMD (8th Floor Plaza)

- Contractor should notify Jason Rodriguez for SO-19 inspection before cutting channel wall   (505) 857-8074

- Coordinate inspections of SO-19 wall cut and pipe installation with Jason Rodriguez

- Obtain Jason Rodriguez’ approval on the G&D Plan for the completed SO-19 work.

- PE must submit Grading Certification prior to requesting Certificate of Occupancy