## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | M09E012B |  | Project Name: |  | 98th & Sage Storage Frontera
NPDES Id. No. | NMR10066R |  | Location: |  | 9850 De Vargas Rd SW
2024-09-19 |  | Owner |  |  |  | Contractor
Operator |  | FRE Albuquerque SS, LLC
Contact name & title |  | Bryan Grissinger & Todd Megrath |  |  |  | David Harvey & Ian Ring
e-mail |  | bryan@fronteerarearealestate.com
Contact Phone # |  | 619-756-4622 |  |  |  | 913-302-7409
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1:30PM |  |  |  | Rain
Construction Phase: |  | verticals | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 90 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-08-31 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | None
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2024-08-28
Notes:
The SWPPP is located in the construction office on the east side of the lot.
All previous violations have been mitigated.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English 505-924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action