March 25, 2008

Mario G. Juarez-Infante, P.E.

Wilson & Company, Inc.

4900 Lang Avenue  NE

Albuquerque, New Mexico  87109

Re:	TRUMAN MIDDLE SCHOOL  - Enclosed Ramp   (M09 – D013)

Drainage Plan and Grading Plan   (PE stamp dated 03-21-08)

Dear Mr. Juarez-Infante,

Based upon the information provided in your resubmittal received 3/25/08, the above referenced Grading Plan and Ramp Profile is approved for Grading, Paving and Building Permits.

Please attach a copy of this approved plan to the Building Permit plan sets prior to requesting sign-off by the Hydrology Section.

Prior to Certificate of Occupancy approval, an Engineer’s Certification of compliance with this plan is required per the DPM.

If I can be of further assistance, please feel free to contact me at 924-3981.

Sincerely,

Gregory R. Olson, P.E.

Hydrology Section

XC:	Bradley Bingham, COA-PLN/Hydrology

Hydrology file M09-D013