## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | M09E031 |  | Project Name: |  | Solare Collegiate Charter School Phase 3
NPDES Id. No. | NMR1006UK |  | Location: |  | 8801 Gibson Blvd SW
2026-01-15 |  | Owner |  |  |  | Contractor
Operator |  | Solare Collegiate Foundation |  |  |  | Insight
Contact name & title |  | Rachel Sewards |  |  |  | Dave Brown
e-mail |  | rsewards@solarecollegiate.org |  |  |  | dave@insightnm.com
Contact Phone # |  | 505-917-6442 |  |  |  | 505-888-7927
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 11am |  |  |  | Rain
Construction Phase: |  | verticals and interiors | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 55 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2026-01-08 |  |  |  | Sleet
Item Number | Deficiency/ Corrective Action
1 | None - see note below re construction exit.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | OK | Latest report Date: |  | 2025-12-18
Notes:
The construction exit is full of dirt and will need maintenance soon.
The SWPPP is in the construction office conex.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action