March 2, 2023

Ronald R. Bohannan, PE

Tierra West, LLC

5571 Midway Park Pl. NE

Albuquerque, NM 87109

Re:	Riverside MHP

South Valley MHP

Traffic Circulation Layout

Engineer’s/Architect’s Stamp XX-XX-XX (M10-D018)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 02-08-23, the above referenced plan cannot be approved for Building Permit until the following comments are addressed:

- The traffic circulation layout must be stamped, signed, and dated by an engineer or architect licensed in the state of New Mexico.

- Identify all existing access easements and rights of way width dimensions.

- The proposed site plan showing property line across the site from the north side to the south side of the site. Please address this concern.

- Please clarify, Is this a site plan for DRB approval?

- Key note 1: please provide 5’ wide sidewalk.

- Key note 3: please provide shared access agreement with the site at the north side of Riverside Mobile Home.

- Please provide ADA ramps for sidewalk connectivity at each units’ corner.

- List radii for all curves shown; for passenger vehicles. Radius for delivery trucks, fire trucks, etc. is 25 ft. or larger.

- Provide a copy of Fire Marshal approval.

- Please provide a letter of response for all comments given.

- Traffic Studies: See the Traffic Impact Study (TIS) thresholds.  In general, a minimum combination of 100 vehicles entering and exiting in the peak hour warrants a Traffic Impact Study.  Visit with Traffic Engineer for determination, and fill out a TIS Form that states whether one is warranted.  In some cases, a trip generation may be requested for determination (Contact Matt Grush: mgrush@cabq.gov).

Once corrections are complete resubmit

- The Traffic Circulation Layout

- A Drainage Transportation Information Sheet (DTIS)

- Send an electronic copy of your submittal to PLNDRS@cabq.gov.

- The $75 re-submittal fee.

for log in and evaluation by Transportation.

If you have any questions, please contact me at (505) 924-3675.

Marwa Al-najjar

Associate Engineer, Planning Dept.

Development Review Services

\ma	via: email

C:	CO Clerk, File