November 26, 2012

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St NE

Albuquerque, NM 87108

Re:	Family Dollar, Tract A-5, Under Sage and Unser Marketplace

Grading and Drainage Plan

Engineer’s Stamp Date 11/05/2012 (M10/D019A)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 11/06/2012, the above referenced Grading and Drainage Plan is approved for Building Permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology. Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

This project requires a Topsoil Disturbance Permit since it is disturbing ¾ of an acre or more.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at;

http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	e-mail