September 28, 2012

Philip E. Clark, P.E.

Clark Consulting Engineers

19 Ryan Road

Edgewood, NM 87015

Re:	Premier Manufacturing Homes, Grading and Drainage Plan

Engineer’s Stamp dated 9-16-12 (M14/D012C1)

Dear Mr. Clark,

Based upon the information provided in your submittal dated 9-17-12 the above referenced plan cannot be approved for Building Permit until the following comments have been addressed:

- Show grades at the proposed driveway to assure water block is provided.  Grade at the Eastern portion of the entrances may be too high due to proximity of the proposed handicap parking spaces.  Provide spot elevations at four corners of the handicap parking area to assure ADA compliance.

- Since the proposed handicap space is the only handicap parking most likely has to be designated as Van handicap space.  Therefore, the angle striped space to the north of the handicap will have to be increased.  Please update you plan if the spacing will have to change.

- Provide proposed spot elevations along the property line to assure does not pond against the existing retaining wall.

- Depress landscaping areas where possible.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail