April 7, 2008

Scott McGee, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

RE:	San Jose Parish – 2401 Broadway S.E. , New Church & Site Impr. (M14 – D 016)

Grading & Drainage Plan/Report for Building Permit  	(PE Stamped 04-03-08)

Dear Mr. McGee:

Based upon the information provided in your original submittal dated 1/28/08, and supplemental information and plan submitted 4/3/08, the above referenced plan is approved for Building Permit and S.O.-19, conditioned upon compliance with the NPDES/SWPPP requirements discussed below.  Please attach a copy of this approved plan to the Building Permit plan sets prior to requesting sign-off by Hydrology.

SWPPP:  This project requires a National Pollutant Discharge Elimination System (NPDES) permit.  You are required to send a copy of the P.E. certified Storm Water Pollution Prevention Plan (SWPPP) on a CD to City of Albuquerque, Storm Drainage Division at:

Department of Municipal Development, Storm Drainage Division

P.O. Box 1293, One Civic Plaza, Rm. 301,   Albuquerque, NM 87103

If you have any question concerning the SWPPP, please contact Kathy Verhage 768-3654.

SO-19: A separate permit is required for construction within City R/W.  A copy of this approval letter must be on hand when applying for the excavation permit.  To obtain a temporary or permanent CO the sidewalk culvert must be inspected and accepted.  Please contact Duane Schmitz, 235-8016, to schedule an inspection.

If I can be of further assistance, feel free to call me at 924-3981.

Sincerely,

Gregory R. Olson, P.E.

Hydrology Section

XC:	Bradley Bingham, COA-PLN/Hydrology

Kathy Verhage, COA/DMD-Storm Drainage

Antoinette Baldonado, Excavation and Barricading

Duane Schmitz, Street/Storm Drain Maintenance

file K19-D 138